## Slide 1: Re-analysis of PXD006381 Developing mouse lens
Phil Wilmarth PSR Core, OHSU January 2024
Notes: Mouse lenses are used in a variety of vision research studies and the development of the young mouse lens is an important reference system to characterize. In 2018, Kahn et al. (Khan, S.Y., Ali, M., Kabir, F., Renuse, S., Na, C.H., Talbot, C.C., Hackett, S.F. and Riazuddin, S.A., 2018. Proteome profiling of developing murine lens through mass spectrometry. Investigative Ophthalmology & Visual Science, 59(1), pp.100-107.) published a deep proteome profiling of the developing mouse lens. The data is publicly available from the Proteomics Identification Database (PRIDE) with project number PXD006381. A thorough re-analysis of the data is presented here as a resource for the lens research community.

## Slide 2: Study overview
Mouse lenses at 6 stages: E15, E18, P0, P3, P6, and P9
  Several mice lenses pooled at each age to get enough protein
  Each set of ages repeated 3 times (biological-like replicates)
Tandem mass tag (TMT) labeling, Thermo Lumos, SPS-MS3
  TMT kit channel numbers (at that time) required 3 plexes (for each age set)
6 ages per TMT plex, 3 plexes, 24-fractions each
  Deep proteome obtained
  There were no common standard channels for combining plexes
  Study design was balanced per plex

## Slide 3: Re-analysis overview
Public data downloaded from PXD006381 (72 RAW files)
Re-analyzed with Comet/PAW pipeline
  Mouse canonical FASTA file
  Wide tolerance Comet search (variable M+16, static C+57, static TMT labels)
  Peak heights for reporter ions
  Protein intensity sums of “unique” PSM reporter ion intensities
Average protein intensity per plex used for mock reference channel
  IRS method used to combine the 3 balanced plexes

## Slide 4: Data set re-analysis summary stats
Data | Acquired MS2 Scans | Identified MS2 Scans (1% FDR) | ID Rate (%) | Protein IDs | Ave. Total Plex Intensity
Set 1 | 532,682 | 119,745 | 22.5 | 5,167 | 14.0 billion
Set 2 | 468,149 | 84,109 | 18.0 | 4,627 | 13.1 billion
Set 3 | 485,261 | 74,436 | 15.3 | 3,916 | 7.6 billion
Totals | 1,486,092 | 278,290 | 18.7 | 5,753 | 
Observations:
Set 1 worked best (more PSM IDs, more protein IDs)
Set 2 had big drop in PSMs and proteins but less drop in intensity
Set 3 was not so good (fewer PSMs and proteins, big drop in intensity)

## Slide 5: Comparison of re-analysis to paper
Analysis | Identified PSMs | Proteins Set1 | Proteins Set2 | Proteins Set3 | Total Protein IDs
Publication | 207,459 | 4,630 | 4,426 | 3,747 | 5,404
PAW re-analysis | 278,290 | 5,167 | 4,627 | 3,916 | 5,753
PAW gain (%) | 34.1 % | 11.6 % | 4.5 % | 4.5 % | 6.5 %
Observations:
Proteome Discoverer and 10 ppm precursor mass tolerance less effective
Many additional PSMs map to higher abundance proteins and protein IDs grow more slowly than PSM IDs
Paper used an incomplete Swiss-Prot mouse FASTA file (17K sequences)

## Slide 6: How to combine the three plexes?
The replicates for each developmental age are in different plexes
TMT plexes have batch-like effect from pseudo-random MS2 sampling
  Data between plexes cannot be directly compared
Two alternatives for comparing data between plexes
  Compute abundance ratios to one developmental age
    6 ages become 5 ratios and there is information loss
  Batch correct intensities between plexes
    IRS method already established for multi-plex TMT studies
    Average protein intensities per plex can be used as reference channel proxies in balanced study designs

## Slide 7: What is internal reference scaling (IRS)?
See https://pwilmart.github.io/TMT_analysis_examples/IRS_validation.html
Each protein’s intensity is a collection of randomly sampled peptide intensities
The random sampling is different in each TMT experiment (a plex)
Proteins at identical abundances between plexes won’t have identical intensities
Common standard channels in each plex (or plex averages in balanced studies) are used to compute protein corrections to remove random sampling effect
Internal standards (or averages) will be identical after IRS
Samples between plexes can be directly compared after IRS

## Slide 8: Plex averages before and after IRS
Random sampling is a major source of variation in TMT experiments
3 boxplots on left are before IRS. The third plex (green) had reduced intensity.
IRS mathematically makes the standard channels identical

## Slide 9: IRS dramatically reduces variance
Ave. median CV 53.9%
Ave. median CV 13.8%

## Slide 10: Biological replicate within-group variability
E18
P0
P6
Before IRS
Before IRS
Before IRS
After IRS
After IRS
After IRS

## Slide 11: Plex batch-like effect obscures the biology
Plexes cluster together without IRS adjustment
Samples separate left-to-right by developmental age after IRS
Separation by age may be better after TMM

## Slide 12: IRS only removes plex-to-plex variation
Left-to-right drop by plex at each age
Left-to-right drop by age for notches, boxes, and whiskers
Notches, boxes, and whiskers in horizontal alignment

## Slide 13: QC checks most important part of data analyses
Need to understand data before statistical modeling
Outliers are not uncommon – complicated sample preps can fail
Normalization of data is critical – many normalization methods should not be used
Single normalization steps are often insufficient for these complicated data
Normalization directly affects the null hypothesis in modeling
TMT methods have high precision and small fold changes making proper normalization even more critical

## Slide 14: Developing mouse lens
Epithelial cells (anterior lens surface monolayer) differentiate into mature fiber cells (also called the lens nucleus)
Lens has little or no protein turnover
  Each age includes all previous protein
    E.g., P3 proteome is P0 proteome plus protein synthesized from newborn to day 3
Mature fiber cells consist of over-expressed lens proteins
  Crystallins, filament/structural proteins, membrane channels
  Cells lack organelles, molecular machinery, enzymatic activity
Cortex (outer lens region) is the differentiation zone from epithelial cells to mature fiber cells

## Slide 15: Lens growth affects lens proteome
Lens increases in size over the developmental ages
Lens size changes fraction of lens proteins that come from the surface (epithelial cells) versus the interior (cortex and nucleus)
Larger lenses will have relatively more mature fiber cell content
  Surface area versus volume argument
Expected aging trends (per unit amount of total lens protein)
  Proteins from epithelial cells will decrease in relative abundance
  Proteins from mature fiber cells (like crystallins) will increase in relative abundance
  Cortical proteins should fall in between these extremes

## Slide 16: Geometric effect on relative abundances
Diameter increases by 1.26
Surface area increases by 1.59
Volume doubles
Dark blue sphere (projection) compared to light blue sphere:
Epithelial cell fraction (area) decreases with increasing lens size (volume)
Early development protein (light blue) fraction decreases with increasing lens size

## Slide 17: Data normalizations are very important
Non-biological variance can be large
  Many bench steps introduce variability
  Complicated measurement systems introduce variability
  Technical variability can obscure biological variability
There are multiple normalizations done in all experiments
  Protein and peptide assays imply molecular normalizations (equal amounts)
Normalization methods can reduce non-biological variability
  There are many methods; only a few are appropriate
Some normalizations are very specific (IRS in multi-plex experiments)

## Slide 18: Software normalizations in TMT experiments
Equal protein/peptide amounts of each sample are labeled
  Implies total reporter ion signal per channel should be the same
Repeated analyses (LC and mass spec) of the same sample should give the same measured values
  Implies common reference channels should have the same reporter ion intensities (the concept behind IRS)
Proteins with unchanged abundance between conditions should have very similar measured values
  Implies ideas behind common normalization algorithms
  Making something between samples the same

## Slide 19: Normalization affects statistical testing
Statistical testing is usually rejecting a null hypothesis
Null hypothesis is usually proteins have same relative abundances between groups
Many normalization methods make ”unchanged proteins” have the same relative abundances
The “unchanged proteins” are the null hypothesis
Different normalization methods make different proteins more similar and result in different null states

## Slide 20: Normalization choice affects DE candidates
Intensity grand total matching
Median intensity matching

## Slide 21: Normalization choice affects ANOVA or pairwise comparison results
DE Candidate Counts: | IRS Without TMM |  | IRS With TMM | 
Statistical Testing | Unchanged Proteins | DE Candidates | Unchanged Proteins | DE Candidates
One-way ANOVA | 1,024 | 3,226 | 2,373 | 1,877
Younger -vs- older pairwise comparison | 684 | 3,566 | 2,001 | 2,249
Direction of Abundance Change Counts: | IRS Without TMM |  | IRS With TMM | 
Data | Negative FC (Down) | Positive FC (Up) | Negative FC (Down) | Positive FC (Up)
Younger -vs- older pairwise comparison | 3,914 | 336 | 2,118 | 2,132

## Slide 22: Intensity grand total matching (IRS only) First 6 samples (E15+E18) versus last 6 samples (P6+P9)
152 Up
3,414 Down
684
The 150+ “Up” proteins suggest mature fiber cell proteome is larger than prior work suggests

## Slide 23: TMM normalization after IRS First 6 (E15+E18) versus last 6 (P6+P9)
1,081 Up
1,168 Down
2,001
TMM normalization categorizes developing lens proteins more equitably into 3 groups

## Slide 24: log2 fold-change distributions by significance cuts

## Slide 25: DE candidates by significance cuts
1,740
261
459
1,790
556
128
313
3,253

## Slide 26: Proteome changes with age
Visualizing time course studies is challenging
What metric summarizes proteomes?
  Clustering?
  Heat maps?
  Cumulative distribution functions?
What abundance change patterns classify proteins into groups?
  Are large positive changes over-expression of lens proteins?
  Do epithelial proteins have large negative changes?

## Slide 27: Cumulative relative abundances show age grouping
Top 500 most intense proteins are ranked by decreasing abundance for each age
Cumulative total intensity computed
Cumulative abundance plotted as %
Ages separate into 3 groups:
  E15
  E18 and P0
  P3, P6, and P9
E15
E18, P0
P3, P6, P9

## Slide 28: Age groupings also present in MDS plot
Top 500 proteins (largest standard deviations) are used
X-axis distance is more important
Dotted lines are group averages
Large gap between E15 and E18/P0 (545 candidates)
Also, large gap between P0 and older ages (84 candidates)
Candidate counts between successive ages reflect gap sizes
545
6
84
5
10
E15
E18
P0
P3
P6
P9
Candidates

## Slide 29: Thoughts on interpreting the data
ANOVA may not be that helpful (too many candidates)
Younger versus older ages pairwise test results (significance and/or fold change)
  Also have significant Up (fiber cells), not significant (flatter), significant down (epithelium)
Three age groups comparisons (early expression versus later expression)
Slopes of normalized intensities are useful
  Time (x-axis) and abundance (y-axis) need normalizing to get normalized slopes
  up [fiber cells and/or lens role], flatter [maybe cortex], and down [maybe epithelial cells]
Relative abundance categories (can use median of protein median intensities)
  Lens proteome has wide dynamic range
  10x of median might be higher abundance, 1x-10x maybe interesting, less than median is low
Trends of related groups of proteins (crystallins, heat shock, ubiquitin/proteasome, etc.)
Functional enrichment comparisons between contrasting subsets
  Top positive slopes versus most negative slopes; top “Up candidates” versus top “Down candidates”, etc.

## Slide 30: Explore major lens proteins to learn patterns
Pick 20 well-known lens proteins (shown below)
Plot Intensities as a function of age
Plot relative intensities out of the 20 protein totals by age (like 2D-PAGE studies)
Plot intensity differences between successive ages (remove accumulated protein)
Normalize each protein versus age data to make abundance-independent scale
Category | Lens Protein
alpha crystallin | aA, aB
beta crystallin | bA1/A3, bA2, bA4, bB1, bB2, bB3
gamma crystallin | gA, gB, gC, gD, gE/F
structural | filensin, phakinin
membrane | MIP, Gja8
other | FABP

## Slide 31: 20 mouse lens protein exploration
Total crystallin abundance is nearly linear with age (after TMM)
Small adjustments (mostly P0) result in linear trend (the reference pattern for major lens proteins)

## Slide 32: 4 proteins have different pattern
alpha B, beta B2, gamma S, and FABP have increased expression at later ages
bB2
aB
gS
FABP

## Slide 33: Abundances as fractions (%) of 20-protein total
bB2
aB
gS FABP

## Slide 34: Lens has no protein turnover – compute differences
bB2
aB
gS

## Slide 35: Normalized intensities are useful (scaled by protein median)
lens pattern
lens pattern
lens pattern
later development
lens pattern
later development
?
?

## Slide 36: Shared peptides for gamma crystallins
Canonical FASTA files and extended parsimony protein grouping reduce total intensity loss from excluded shared peptides
Majority of proteins have no or few shared peptides after grouping
Certain protein families are exceptions
Gamma crystallins in lens have a complicated pattern of shared peptides
Crystallin | Fraction Unique | Crystallin | Fraction Unique
Gamma A | 79.1% | Gamma D | 4.8%
Gamma B | 46.5% | Gamma E/F | 23.7%
Gamma C | 26.3% | Gamma S | 100%

## Slide 37: Shared peptide quantitative information can be fractionally “split”
PAW pipeline does this for spectral counting totals (SpC)
TMT is an extra dimension of quantitative data
  Intensities have more dynamic range than spectral counts
  Each channel has different shared and unique intensity totals
Logic for SpC splitting can be applied per channel with intensities
Manually done for P0 age and Set 1 plex

## Slide 38: Total gamma intensities change after splitting
Gamma crystallin | Unique intensity total (default values) | Intensity totals with extra fractionally split shared peptides | Intensity increase factor
Gamma A | 428,918,909 | 514,459,509 | 1.20
Gamma B | 101,259,867 | 158,276,338 | 1.56
Gamma C | 82,691,628 | 220,943,948 | 2.67
Gamma D | 23,838,777 | 100,325,296 | 4.21
Gamma E/F | 109,564,209 | 335,372,413 | 3.06
This has implications for comparing relative abundances of different proteins, comparing to published studies, etc.

## Slide 39: Comparison to Ueda 2002 paper (2D-PAGE)
Lens Protein | Ueda 2002 Relative % | TMT Default Relative % | TMT Relative % (w/ splitting)
Beta B1 | 10.3 | 18.9 | 16.6
Beta B2 | 0.2 | 0.5 | 0.4
Beta B3 | 9.9 | 11.2 | 9.9
Beta A1/A3 | 7.6 | 11.8 | 10.4
Beta A2 | 1.9 | 2.7 | 2.3
Beta A4 | 1.9 | 2.2 | 1.9
Alpha A + insert | 20.3 | 31.0 | 27.3
Alpha B | 4.6 | 3.0 | 2.6
Gamma A | 9.3 | 10.1 | 10.6
Gamma B/C | 4.8 | 4.4 | 7.6
Gamma D | 9.1 | 0.7 | 2.5
Gamma E/F | 19.1 | 2.5 | 6.7
Gamma S | 1.0 | 0.9 | 0.8
FABP | 0.1 | 0.3 | 0.3
aA
gE/F
bA1/A3
gD
bB1
bB3
gA
gB/C
aB
bB2 FABP
bA2 bA4
gS

## Slide 40: Summary of developing mouse lens
Khan 2018 data is a good resource
  Proteome depth is very good; third set ran less well
  Better analysis and proper between plex normalization (IRS) helps
Different (post IRS) normalizations affect results and interpretation
  Normalization choice should match interpretation goals
  How normalization affects data is critical to understanding statistical testing and interpretation of results
Several techniques for expression pattern finding were outlined
  ANOVA, age-grouped pairwise comparisons
  Normalized age/intensity plots useful for exploring major lens proteins
Mature fiber cell proteome is richer than prior studies suggest